## 2019_ug-g
Project: | LILA Cages_(LC121219) December/2019
LIMS Record | AC81711-AC81735
Date received: | 2019-12-12
Account # | check
SDG# | 191212
[5 empty] | "Results Relate ONLY to the Samples" |  | FIELD DATA
[5 empty] | † = NELAC Certified Analysis, Certificate# E76930-16 | [9 empty] | MDLs effective : 07/01/19 |  | µmol/L |  | µmol/L
|  |  | COLLECTION |  |  | † TP | TURB | DEPTH | SAL | TEMP | DO | pH | LAT. | LONG. | Code | Parameter | MDL | PQL | MDL | PQL
BOTTLE ID | SAMPLE UNIQUE ID | MATRIX | DATE & TIME |  |  | (ug/g) | NTU | m | ppt | C | mg/L | STD units |  |  |  |  | SW | SW | FW | FW
LILA_M4_cage4 | AC81711 | T | 2019-07-29 | 10:00AM |  | 260.243 | [8 empty] | N+N | Nitrate+Nitrite as N | 0.12574 | 0.96 | 0.12558 | 0.96
LILA_M2_cage1 | AC81712 | T | 2019-07-29 | 10:00AM |  | 314.917 | [8 empty] | NO2-N | Nitrite as N, Dissolved | 0.01508 | 0.16 | 0.017071 | 0.16
LILA_M2_cage2 | AC81713 | T | 2019-07-29 | 10:00AM |  | 239.659 | [8 empty] | NH4-N | Ammonium as N | 0.12839 | 1 | 0.14113 | 1
LILA_M2_cage3 | AC81714 | T | 2019-07-29 | 10:00AM |  | 269.775 | [8 empty] | SRP | Soluble Reactive Phosphorus | 0.030697 | 0.4 | 0.073802 | 0.4
LILA_M2_cage4 | AC81715 | T | 2019-07-29 | 10:00AM |  | 253.497 | [8 empty] | TP | Phosphorus, Total | 0.023658 | 0.1 | 0.021739 | 0.1
LILA_M2_cage5 | AC81716 | T | 2019-07-29 | 10:00AM |  | 279.917 | [8 empty] | TP- soil (µg/g)* | Phosphorus, Total - Soil* | 0.66 | 3.87
LILA_M2_cage6 | AC81717 | T | 2019-07-29 | 10:00AM |  | 1441.743 | [8 empty] | Si | Silica | 0.20207 | 1 | 0.15152 | 1
LILA_M2_cage7 | AC81718 | T | 2019-07-29 | 10:00AM |  | 253.466 | [8 empty] | TOC | Total Organic Carbon | 6.3712 | 41.6667
LILA_M2_cage8 | AC81719 | T | 2019-07-29 | 10:00AM |  | 285.726 | [8 empty] | TN | Nitrogen, Total | 2.9481 | 17.8571
LILA_M2_cage9 | AC81720 | T | 2019-07-29 | 10:00AM |  | 285.52 | [8 empty] | CHL-a (µg/L)** | Chlorophyll a** | 0.1
LILA_M2_cage10 | AC81721 | T | 2019-07-29 | 10:00AM |  | 352.964 | [8 empty] | TP-persulfate | TP-persulfate | 0.06405 | 0.25
LILA_M2_cage11 | AC81722 | T | 2019-07-29 | 10:00AM |  | 274.676
LILA_M2_cage12 | AC81723 | T | 2019-07-29 | 10:00AM |  | 402.771 | [8 empty] | Note:
LILA_M2_cage13 | AC81724 | T | 2019-07-29 | 10:00AM |  | 237.597 | [8 empty] | TP-soil* reported in µg/g
LILA_M2_cage14 | AC81725 | T | 2019-07-29 | 10:00AM |  | 240.609 | [8 empty] | Chl-a** reported in µg/L
LILA_M2_cage15 | AC81726 | T | 2019-07-29 | 10:00AM |  | 306.962 | [8 empty] | ND = Non-Detect
LILA_M2_cage16 | AC81727 | T | 2019-07-29 | 10:00AM |  | 330.693
LILA_M2_cage17 | AC81728 | T | 2019-07-29 | 10:00AM |  | 259.614 | [8 empty] | Nomenclature
LILA_M2_cage18 | AC81729 | T | 2019-07-29 | 10:00AM |  | 344.004 | [8 empty] | Nitrite (NO2) + Nitrate (NO3) as N+N
LILA_M2_slough | AC81730 | T | 2019-08-02 | 10:00AM |  | 136.11 | [8 empty] | Nitrite as NO2-N
LILA_M4_slough | AC81731 | T | 2019-08-02 | 10:00AM |  | 303.469 | [8 empty] | Nitrate as NO3-N
LILA_M2_cage5P | AC81732 | T | 2019-07-29 | 10:00AM |  | 321.036 | [8 empty] | Ammonium as NH4-N
LILA_M2_cage9P | AC81733 | T | 2019-07-29 | 10:00AM |  | 273.768 | [8 empty] | Nitrogen, Total Inorganic as TIN
LILA_M2_cage12P | AC81734 | T | 2019-07-29 | 10:00AM |  | 285.483 | [8 empty] | Nitrogen, Total Organic as TON
LILA_M4_sloughP | AC81735 | T | 2019-08-02 | 10:00AM |  | 306.305
Calculated Data formulas
RED Value: Result reported is less than the laboratory Method Detection Limit (MDL). | [14 empty] | NO3-N = N+N - NO2-N
GREEN Value: Result reported is less than the laboratory Practical Quantitation Limit (PQL) and greater than or equal to MDL. | [14 empty] | If NO3-N has a negative value (-), data will be reported in yellow.
If either N+N or NO2-N is below the PQL, NO3-N will not be calculated due to the uncertainty of any value below PQL.
TIN = NO3-N + NO2-N + NH4-N
If TIN has a negative value, it will be reported as "0"
TON = TN - TIN
If TON has a negative value (-), it will be reported as "0"

## 2019_Analyses INFORMATION
Analyses Information
Method Detection Limits approved: 6/5/2019, effective: 7/1/2019
ANALYSIS | CAChE-NACF SOP ID | Based on Stand. Method | MDL (µmoles/L) |  | PQL (µmoles/L) |  | MDL (ppm) |  | PQL (ppm)
|  |  | SW | FW | SW | FW | SW | FW | SW | FW
N+N | SOP-004 | EPA353.4 | 0.12574 | 0.12558 | 0.96 | 0.96 | 0.0017604 | 0.0017582 | 0.01344 | 0.01344 | Units | Description
NO2-N | SOP-004 | EPA353.4 | 0.01508 | 0.017071 | 0.16 | 0.16 | 0.00021112 | 0.000239 | 0.00224 | 0.00224 | % | Percent
NH4-N | SOP-004 | EPA350.1 | 0.12839 | 0.14113 | 1 | 1 | 0.0017975 | 0.0019758 | 0.014 | 0.014 | mg/L | Milligrams per Liter
SRP | SOP-004 | EPA365.1 | 0.030697 | 0.073802 | 0.4 | 0.4 | 0.0009516 | 0.0022879 | 0.0124 | 0.0124 | µg/L | Micrograms per Liter
TP | SOP-008 | EPA365.1 | 0.023658 | 0.021739 | 0.1 | 0.1 | 0.00073341 | 0.00067392 | 0.0031 | 0.0031 | µg/g | Micrograms per grams
TP-persulfate | SOP-008P | EPA365.1 | 0.06405 |  | 0.25161 | 0.25161 | 0.0019856 |  | 0.0078 | 0.0078 | µM (µmol/L) | Micromoles per Liter
TP- soil* | SOP-008 | EPA365.1 |  |  |  |  | 0.66* |  | 3.87* |  | ppm | Parts per million
Si | SOP-005 | EPA366.0 | 0.20207 | 0.15152 | 1 | 1 | 0.005658 | 0.0042425 | 0.028 | 0.028
TOC | SOP-007 | NU-062-1.8 | 6.3712 |  | 41.6667 |  | 0.076455 |  | 0.5
TN | SOP-006 | ASTM D5176 | 2.9481 |  | 17.8571 |  | 0.041274 |  | 0.25
Chl-a** | SOP-003 | SM10200H | 0.1** |  |  |  | 0.1**
NOTE: Practical Quantitation Limits (PQL) values are established equal to the lowest (non-blank) calibration standard of each analysis. Any reported value below PQL (S1) and above Method of Detection Limits (MDL) will be flagged and considered uncertain, as per LOQ definition
TP-soil* reported in µg/g
Chl-a** reported in µg/L

## 2020_ug-g
Project: | LILA Cages 2020 (ND120320) July/2020
LIMS Record | AC89545-AC89555
Date received: | 2020-12-03 10:30
Account # | By Check
SDG# | 201203A
"Results Relate ONLY to the Samples"
[5 empty] | † = NELAC Certified Analysis, Certificate# E76930-16 |  |  |  | MDLs effective : 07/01/2020 |  | µmol/L |  | µmol/L
|  |  | COLLECTION |  |  | † TP | TN | TC | Code | Parameter | MDL | PQL | MDL | PQL
BOTTLE ID | SAMPLE UNIQUE ID | MATRIX | DATE & TIME |  |  | µg/g | % | % |  |  | SW | SW | FW | FW
LILA_M2_Slough1 | AC89545 | T | 2020-07-30 | 10:00 |  | 100.6617 | 0.9653 | 20.5038 | N+N | Nitrogen, Nitrite (NO2) + Nitrate (NO3) as N+N | 0.12997 | 0.96 | 0.10227 | 0.96
LILA_M2_Cage1 | AC89546 | T | 2020-07-30 | 10:00 |  | 142.6615 | 0.91491 | 21.8179 | NO2-N | Nitrogen, Nitrite as NO2-N | 0.012101 | 0.16 | 0.012275 | 0.16
LILA_M2_Cage3 | AC89547 | T | 2020-07-30 | 10:00 |  | 252.5564 | 0.98634 | 22.3356 | NH3/HN4-N | Nitrogen, Ammonia/Ammonium as NH3/NH4-N | 0.12839 | 1 | 0.14113 | 1
LILA_M2_Cage4 | AC89548 | T | 2020-07-30 | 10:00 |  | 184.0996 | 1.5312 | 25.029 | SRP | Soluble Reactive Phosphorus as SRP | 0.02223 | 0.4 | 0.024774 | 0.4
LILA_M2_Cage5 | AC89549 | T | 2020-07-30 | 10:00 |  | 204.6776 | 0.959 | 21.8698 | TP | Phosphorus, Total | 0.021931 | 0.1 | 0.020767 | 0.1
LILA_M2_Cage6 | AC89550 | T | 2020-07-30 | 10:00 |  | 157.0677 | 0.89062 | 21.411 | TP-persulfate | TP-persulfate | 0.056 | 0.25161 | 0.056 | 0.25161
LILA_M2_Cage8 | AC89551 | T | 2020-07-30 | 10:00 |  | 189.719 | 0.97775 | 23.2489 | Si | Silica | 0.15052 | 1 | 0.12713 | 1
LILA_M2_Cage11 | AC89552 | T | 2020-07-30 | 10:00 |  | 164.8959 | 1.17 | 23.6528 | TOC | Total Organic Carbon | 6.3712 | 41.6667 | 6.3712 | 41.6667
LILA_M2_Cage15 | AC89553 | T | 2020-07-30 | 10:00 |  | 129.3971 | 0.99015 | 21.8995 | TN | Nitrogen, Total | 2.9481 | 17.8571 | 2.9481 | 17.8571
LILA_M2_Cage19 | AC89554 | T | 2020-07-30 | 10:00 |  | 197.7938 | 1.0215 | 22.5313 | CHL-a (µg/L)* | Chlorophyll-a* | 0.1 |  | 0.1
LILA_M2_Cage21 | AC89555 | T | 2020-07-30 | 10:00 |  | 169.5592 | 1.106 | 23.3915 | TP- soil (µg/g)** | Phosphorus, Total - Soil** | 0.44 | 3.87
Notes:
RED Value: Result reported is less than the laboratory Method Detection Limit (MDL). | [8 empty] | Chl-a* reported in µg/L
GREEN Value: Result reported is less than the laboratory Practical Quantitation Limit (PQL) and greater than or equal to MDL. | [8 empty] | TP- soil** reported in µg/g
ND = Non-Detect
NOTE: If either N+N or NO2-N is below the PQL, NO3-N will not be calculated due to the uncertainty of any value below PQL.
Nomenclature
Nitrite (NO2) + Nitrate (NO3) as N+N
Nitrite as NO2-N
Nitrate as NO3-N
Ammonia/Ammonium as NH3/NH4-N
Nitrogen, Total Inorganic as TIN
Nitrogen, Total Organic as TON
Calculated Data formulas
NO3-N = (N+N) - (NO2-N)
If either N+N or NO2-N is below the PQL, NO3-N will not be calculated due to the uncertainty of any value below PQL.
TIN = (NO3-N) + (NO2-N) + (NH4-N)
If TIN has a negative value, it will be reported as "ND"
TON = TN - TIN
If TON has a negative value (-), it will be reported as "ND"
DIC = TC - DOC
If DIC has a negative value (-), it will be reported as "ND"

## 2020_Analyses INFORMATION
Analyses Information
Method Detection Limits approved: 6/24/2020, effective: 7/1/2020
ANALYSIS | CAChE-NACF SOP ID | Based on Stand. Method | MDL (µmoles/L) |  | PQL (µmoles/L) |  | MDL (ppm) |  | PQL (ppm)
|  |  | SW | FW | SW | FW | SW | FW | SW | FW
N+N | SOP-004 | EPA353.4 Rev. 2.0 | 0.12997 | 0.10227 | 0.96 | 0.96 | 0.0018196 | 0.0014318 | 0.01344 | 0.01344 | Units | Description
NO2-N | SOP-004 | EPA353.4 Rev. 2.0 | 0.012101 | 0.012275 | 0.16 | 0.16 | 0.00016941 | 0.00017185 | 0.00224 | 0.00224 | % | Percent
NH3/HN4-N | SOP-004 | EPA349.0 Rev. 2.0 | 0.12839 | 0.14113 | 1 | 1 | 0.0017975 | 0.0019758 | 0.014 | 0.014 | mg/L | Milligrams per Liter
SRP | SOP-004 | EPA365.1 Rev. 2.0 | 0.02223 | 0.024774 | 0.4 | 0.4 | 0.00068914 | 0.00076799 | 0.0124 | 0.0124 | µg/L | Micrograms per Liter
TP | SOP-008 | EPA365.1 Rev. 2.0 | 0.021931 | 0.020767 | 0.1 | 0.1 | 0.00067987 | 0.00064378 | 0.0031 | 0.0031 | µg/g | Micrograms per grams
TP-persulfate | SOP-008P | EPA365.1 Rev. 2.0 | 0.055996 |  | 0.25161 | 0.25161 | 0.0017359 |  | 0.0078 | 0.0078 | µM (µmol/L) | Micromoles per Liter
TP- soil* | SOP-008 | EPA365.1 Rev. 2.0 |  |  |  |  | 0.44023 |  | 3.87 |  | ppm | Parts per million
Si | SOP-005 | EPA366.0 Rev. 1.0 | 0.15052 | 0.12713 | 1 | 1 | 0.0042146 | 0.0035596 | 0.028 | 0.028
TOC | SOP-007 | SM5310B-1999 | 6.3712 |  | 41.6667 |  | 0.076455 |  | 0.5
TN | SOP-006 | ASTM D5176-91 | 2.9481 |  | 17.8571 |  | 0.041274 |  | 0.25
Chl-a** | SOP-003 | SM10200H-1999 | 0.1 |  |  |  | 0.1
NOTE: Practical Quantitation Limits (PQL) values are established equal to the lowest (non-blank) calibration standard of each analysis. Any reported value below PQL (S1) and above Method of Detection Limits (MDL) will be flagged and considered uncertain, as per LOQ definition
TP-soil* reported in µg/g
Chl-a** reported in µg/L

## NutrientCompiled
Year | Bottle_ID | SampleUniqueID | Matrix | CollectionDate | CollectionTime | Location | Cell | Cage | TP_ug/g | TN_% | TC_%
2019 | LILA_M4_cage4 | AC81711 | T | 2019-07-29 | 10:00AM | LILA | M4 | 4 | 260.243
2019 | LILA_M2_cage1 | AC81712 | T | 2019-07-29 | 10:00AM | LILA | M2 | 1 | 314.917
2019 | LILA_M2_cage2 | AC81713 | T | 2019-07-29 | 10:00AM | LILA | M2 | 2 | 239.659
2019 | LILA_M2_cage3 | AC81714 | T | 2019-07-29 | 10:00AM | LILA | M2 | 3 | 269.775
2019 | LILA_M2_cage4 | AC81715 | T | 2019-07-29 | 10:00AM | LILA | M2 | 4 | 253.497
2019 | LILA_M2_cage5 | AC81716 | T | 2019-07-29 | 10:00AM | LILA | M2 | 5 | 279.917
2019 | LILA_M2_cage6 | AC81717 | T | 2019-07-29 | 10:00AM | LILA | M2 | 6 | 1441.743
2019 | LILA_M2_cage7 | AC81718 | T | 2019-07-29 | 10:00AM | LILA | M2 | 7 | 253.466
2019 | LILA_M2_cage8 | AC81719 | T | 2019-07-29 | 10:00AM | LILA | M2 | 8 | 285.726
2019 | LILA_M2_cage9 | AC81720 | T | 2019-07-29 | 10:00AM | LILA | M2 | 9 | 285.52
2019 | LILA_M2_cage10 | AC81721 | T | 2019-07-29 | 10:00AM | LILA | M2 | 10 | 352.964
2019 | LILA_M2_cage11 | AC81722 | T | 2019-07-29 | 10:00AM | LILA | M2 | 11 | 274.676
2019 | LILA_M2_cage12 | AC81723 | T | 2019-07-29 | 10:00AM | LILA | M2 | 12 | 402.771
2019 | LILA_M2_cage13 | AC81724 | T | 2019-07-29 | 10:00AM | LILA | M2 | 13 | 237.597
2019 | LILA_M2_cage14 | AC81725 | T | 2019-07-29 | 10:00AM | LILA | M2 | 14 | 240.609
2019 | LILA_M2_cage15 | AC81726 | T | 2019-07-29 | 10:00AM | LILA | M2 | 15 | 306.962
2019 | LILA_M2_cage16 | AC81727 | T | 2019-07-29 | 10:00AM | LILA | M2 | 16 | 330.693
2019 | LILA_M2_cage17 | AC81728 | T | 2019-07-29 | 10:00AM | LILA | M2 | 17 | 259.614
2019 | LILA_M2_cage18 | AC81729 | T | 2019-07-29 | 10:00AM | LILA | M2 | 18 | 344.004
2019 | LILA_M2_slough | AC81730 | T | 2019-08-02 | 10:00AM | LILA | M2 | slough | 136.11
2019 | LILA_M4_slough | AC81731 | T | 2019-08-02 | 10:00AM | LILA | M4 | slough | 303.469
2019 | LILA_M2_cage5P | AC81732 | T | 2019-07-29 | 10:00AM | LILA | M2 | 5P | 321.036
2019 | LILA_M2_cage9P | AC81733 | T | 2019-07-29 | 10:00AM | LILA | M2 | 9P | 273.768
2019 | LILA_M2_cage12P | AC81734 | T | 2019-07-29 | 10:00AM | LILA | M2 | 12P | 285.483
2019 | LILA_M4_sloughP | AC81735 | T | 2019-08-02 | 10:00AM | LILA | M4 | sloughP | 306.305
2020 | LILA_M2_Slough1 | AC89545 | T | 2020-07-30 | 10:00 | LILA | M2 | slough1 | 100.6617 | 0.9653 | 20.5038
2020 | LILA_M2_Cage1 | AC89546 | T | 2020-07-30 | 10:00 | LILA | M2 | 1 | 142.6615 | 0.91491 | 21.8179
2020 | LILA_M2_Cage3 | AC89547 | T | 2020-07-30 | 10:00 | LILA | M2 | 3 | 252.5564 | 0.98634 | 22.3356
2020 | LILA_M2_Cage4 | AC89548 | T | 2020-07-30 | 10:00 | LILA | M2 | 4 | 184.0996 | 1.5312 | 25.029
2020 | LILA_M2_Cage5 | AC89549 | T | 2020-07-30 | 10:00 | LILA | M2 | 5 | 204.6776 | 0.959 | 21.8698
2020 | LILA_M2_Cage6 | AC89550 | T | 2020-07-30 | 10:00 | LILA | M2 | 6 | 157.0677 | 0.89062 | 21.411
2020 | LILA_M2_Cage8 | AC89551 | T | 2020-07-30 | 10:00 | LILA | M2 | 8 | 189.719 | 0.97775 | 23.2489
2020 | LILA_M2_Cage11 | AC89552 | T | 2020-07-30 | 10:00 | LILA | M2 | 11 | 164.8959 | 1.17 | 23.6528
2020 | LILA_M2_Cage15 | AC89553 | T | 2020-07-30 | 10:00 | LILA | M2 | 15 | 129.3971 | 0.99015 | 21.8995
2020 | LILA_M2_Cage19 | AC89554 | T | 2020-07-30 | 10:00 | LILA | M2 | 19 | 197.7938 | 1.0215 | 22.5313
2020 | LILA_M2_Cage21 | AC89555 | T | 2020-07-30 | 10:00 | LILA | M2 | 21 | 169.5592 | 1.106 | 23.3915